|  |  |  |  |
| --- | --- | --- | --- |
| ***Sn*** | ***Equipment*** | ***Qty*** | ***Parameters*** |
| **Biochemistry** |
|  | Micro Pipettes | 05 | Volume |
|  | Refrigerator (Digital Thermometer) | 04 | Temperature |
|  | Deepfreeze (-20C) | 01 | Temperature |
|  | Centrifuge | 04 | RPM Speed & Temperature |
|  | Thermo Hygrometer (Room) | 02 | Temperature & Humidity |
| **Microbiology** |
|  | Micro Pipettes | 14 | Volume |
|  | Autoclave | 02 | Pressure & Temperature |
|  | CO2 Incubator | 01 | CO2 Pressure & Temperature |
|  | BOD Incubators | 03 | Temperature |
|  | Water Bath  | 01 | Temperature |
|  | Refrigerator Double Door | 01 | Temperature |
|  | Deep Freezer (-80C) | 01 | Temperature |
|  | Refrigerator (REMI) | 02 | Temperature |
|  | Digital Thermometer | 07 | Temperature & Humidity |
|  | Incubator | 02 | Temperature |
|  | Hot Air Oven | 02 | Temperature |
| **Pathology** |
|  | Centrifuge | 03 | RPM Speed & Temperature |
|  | Water Bath  | 01 | Temperature |
|  | Micro Pipettes | 03 | Volume |
|  | Binocular Microscope | 04 | Magnification  |
|  | Sample Rocking Platform | 01 | RPM Speed |
|  | Refrigerator (Digital Thermometer) | 01 | Temperature |