**Technical Specification of Spirometer (Annexure - 1)**

|  |  |  |
| --- | --- | --- |
| **Sr. No.** | **Specification** | **Y/N** |
|  | Spirometer provided with a unit of 4-speed electric kymograph with gravity writing ink-pen. |  |
|  | Usage – Laboratory apparatus. |  |
|  | Capacity – 6 Litters |  |
|  | Gear – 4 |  |