# 2D Echo Machine Specification

Technical Specification of 2D High End Echo Machine for TTE

| S.NO. | Descriptions | Comply (Yes /No) |
| --- | --- | --- |
|  | Make |  |
|  | Model |  |
| 1. | Latest generation advanced digital 2D TTE & TEE echocardiography system. |  |
| 2. | Frame rate up to 3000 FPS. |  |
| 3. | Adult cardiology transducer with broadband technology |  |
| 4. | Minimum 21-inch high-resolution monitor |  |
| 5. | At least four imaging probe ports. |  |
| 6. | Frequency range: 1–18 MHz. |  |
| 7. | Storage: 500GB hard disk. |  |
| 8. | Scanning depth: 30 cm |  |
| 9. | Advanced quantification: Automated strain & CRT. |  |
| 10. | Automated tools: TAPSE, LA Volume, EF. |  |
| 11. | Touch panel ≥12 inch. |  |
| 12. | Contrast imaging standard |  |
| 13. | Integrated stress echo. |  |
| 14. | Real-time compound imaging. |  |
| 15. | AI-based auto doppler. |  |
| 16. | LIMP, RIMP, Continuity equation. |  |
| 17. | Post processing features. |  |
| 18. | Software beamforming. |  |
| 19. | AI-based measurements. |  |
| 20. | Upgradeable to neonatal probes. |  |
| 21. | Strain measurement standard. |  |
| 22. | ICE compatibility. |  |
| 23. | Z Score display. |  |
| 24. | Upgradeable to matrix 2D TEE. |  |
| 25 | Transducers included (neonatal, adult, TEE). |  |
| 26. | US FDA & CE certified. |  |
| 27. | Paediatric probe along with Adult probe |  |
| 28. | Warranty: 3 Year. |  |